{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":7,"n_cols":36,"rows_kept":7,"flags":["formulas_cached_only"]}
["锦州市松山新区2018年末梢水监测数据（第三季度）"]
["省份名称","市名称","供水方式","检测类型","水源类型","水样类型","消毒方式","供水覆盖人口","监测类型","设计供水能力","实际供水能力","取样日期","测定日期","监测点所在乡镇","监测点所在村","卫生许可情况","采样乡镇（详细地址）","采样乡镇行政区划代码","监测项目","总大肠菌群（MPN/100mL或CFU/100mL）","耐热大肠菌群（MPN/100mL或CFU/101mL）","大肠埃希氏菌（MPN/100mL或CFU/102mL）","菌落总数（CFU/mL）","色度（铂钴色度单位）","浑浊度（NTU-散射浊度单位）","嗅和味","肉眼可见物","pH","氯化物（mg/L）","总硬度(以CaCO3计，mg/L）","耗氧量（CODMn法，以O2计，mg/L）","硝酸盐氮（以N计，mg/L）","砷（mg/L）","铬（六价，mg/L）","铁（mg/L）","锰（mg/L）"]
["辽宁省","锦州市","常规处理（含混凝、沉淀、过滤、消毒)","常规指标和氨氮","深井","末梢水","液氯",480000,6,200000,160000,"2018.9.7","2018.9.10","不详乡镇","松山乡","有卫生许可","松山街道，富锦佳园",21071113,"-",0,null,null,27,2.5,0.25,0,0,7.23,95.3,339.3,0.6,4.5,0.0005,0.002,0.05,0.025]
["辽宁省","锦州市","常规处理（含混凝、沉淀、过滤、消毒)","常规指标和氨氮","深井","末梢水","液氯",480000,6,200000,160000,"2018.9.7","2018.9.10","不详乡镇","松山乡","有卫生许可","果树农场街道，大蟹天下",21071114,"-",0,null,null,2,2.5,0.25,0,0,7.43,82.7,335.6,0.77,4.3,0.0005,0.002,0.05,0.025]
["辽宁省","锦州市","常规处理（含混凝、沉淀、过滤、消毒)","常规指标和氨氮","深井","末梢水","液氯",480000,6,200000,160000,"2018.9.7","2018.9.10","不详乡镇","松山乡","有卫生许可","果树农场街道，易盈精工",21071114,"-",0,null,null,5,2.5,0.25,0,0,7.33,83.4,339.3,0.71,4.4,0.0005,0.002,0.05,0.025]
["辽宁省","锦州市","常规处理（含混凝、沉淀、过滤、消毒)","常规指标和氨氮","深井","末梢水","液氯",480000,6,200000,160000,"2018.9.7","2018.9.10","不详乡镇","松山乡","有卫生许可","松山街道，曼哈顿",21071115,"-",0,null,null,25,2.5,0.25,0,0,7.2,126.2,407.4,0.67,4.6,0.0005,0.002,0.05,0.025]
["辽宁省","锦州市","常规处理（含混凝、沉淀、过滤、消毒)","常规指标和氨氮","深井","末梢水","液氯",480000,6,200000,160000,"2018.9.7","2018.9.10","不详乡镇","松山乡","有卫生许可","巧鸟街道，尚海雅居",21071116,"-",0,null,null,3,2.5,0.25,0,0,7.33,83.1,280.6,0.84,4.2,0.0005,0.002,0.05,0.025]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}